## Revised Report 22 April 2024
|  | Summary |  | Installations of National Significance & the Setting of Local Renewable Electricity Targets | 6.5 Table 6 indicates that the contribution increases to 64% if installations with planning consent that |  | 11. Tables A & B below provide information on the impact on three administrative areas of sharing | [7 empty] | UK Renewable Electricity Installations | [6 empty] | UK Renewable Electricity Installations | [5 empty] | UK Renewable Electricity Installations | [6 empty] | UK Renewable Electricity Installations | [5 empty] | UK Renewable Electricity Installations | [6 empty] | UK Renewable Electricity Installations | [5 empty] | Table 12 UK RENEWABLE ELECTRICITY INSTALLATIONS | [7 empty] | UK Renewable Electricity Installations of All Development Statuses | [8 empty] | Table 16 DORSET OPERATIONAL RENEWABLE ELECTRICITY
[5 empty] | are under construction or awaiting construction are added to the operational installations in Table 5. |  | generation from installations of National Significance: England, Dorset Council and the Unitary Authority | [7 empty] | Table 1 (a) SUMMARY OF ESTIMATES OF GENERATION BY INSTALLATIONS OF NATIONAL SIGNIFICANCE | [6 empty] | Table 2 OPERATIONAL at 30 June 2011 | [5 empty] | Table 4 OPERATIONAL at 31 December 2020 | [6 empty] | Table 6 OPERATIONAL, UNDER CONSTRUCTION & AWAITING CONSTRUCTION | [5 empty] | Table 8 OPERATIONAL, UNDER CONSTRUCTION, AWAITING | [6 empty] | Table 10 DEVELOPMENT STATUS OF ALL INSTALLATIONS in Tables 8 & 9 | [5 empty] | of ALL DEVELOPMENTS at 31 December 2021 | [7 empty] | Table 13 LOCATION OF OFFSHORE WIND at 31 December 2021 | [8 empty] | INSTALLLATIONS at 31 December 2021
|  | 1. This report concludes that it would be appropriate for Dorset Council to reintroduce the 2011 |  | 1. In its Final Draft for Endorsement of the Bournemouth, Dorset & Poole Renewable Energy Strategy |  |  | BCP. In preparing the table the following assumptions have been made and information provided: | [14 empty] | Technology | Number of Installations | Capacity MW | Load Factor | Generation |  | Technology | Number of Installations | Capacity MW | Load Factor | Generation |  |  | CONSTRUCTION at 31 December 2021 | [5 empty] | CONSTRUCTION & AWAITING APPROVAL at 31 December 2021 | [6 empty] | at 31 December 2021 | [5 empty] | Technology | Number of Installations | Capacity MW | Load Factor | Generation |  | Country |  | Technology | Significance | Country | Number of Installations | Capacity MW | Load Factor | Generation |  |  | Technology | Number of Installations | Capacity MW | Load Factor | Generation
|  | policy whereby each UK local authority was able to reduce its 2020 renewable energy target by |  | to 2020, published March 2012, the Dorset Energy Partnership (DEP) announced its expectation that | 6.6 Table 7 indicates that of 400 installations awaiting planning approval at 31 Dec 2021, 38 (9.5%) | [9 empty] | Date of Assessment | Table Number | Number of Installations | Development Status of installations | Annual Generation of National Significance | [6 empty] | Annual TWh | Split % |  |  |  |  | Annual TWh | Split % |  | Technology | Number of Installations | Capacity MW | Load Factor | Generation |  | Technology | Number of Installations | Capacity MW | Load Factor | Generation |  |  | Technology | Number of Installations | Capacity MW | Load Factor | Generation | [5 empty] | Annual TWh | % of Total | [8 empty] | Annual TWh | % of Total | [5 empty] | Annual TWh | % of Total
|  | 50% from 15% (the UK target) to 7.5%. This policy was proposed and implemented when it was |  | approximately half its 2020 renewable energy target would be delivered via resources considered by | are installations of National Significance and are responsible for 69% of total annual generation. |  | 11.1 During 2050 the UK reaches its annual renewable electricity target of 677 TWh, the higher | [31 empty] | Annual TWh | Split % |  |  |  |  | Annual TWh | Split % | [5 empty] | Annual TWh | % of Total
|  | realised that if the 15% target were to be realised, the damage that would be done to Dorset's |  | Government to be of national significance1,2,3. This expectation was deduced from the UK Renewable |  |  | of the targets chosen by the Dynamic Dispatch Team at the Department for Business, Energy & | [14 empty] | Hydro Large | 2 | 165 | 0.35518 | 0.51338 |  | Wind Offshore | 23 | 9188.2 | 0.38886 | 31.2988 | [21 empty] | Advanced Conversion | 52 | 817 | 0.82 | 5.8687 | 85.496 | England |  | Wind Offshore | NATIONAL | England | 30 | 22681.2 | 0.39924 | 79.3239 | 78.0426 |  | Anaerobic Digestion | 14 | 6.999 | 0.61428 | 0.037662 | 7.5521
|  | rural assets, particularly its landscapes, would be unacceptable. |  | Energy Roadmap, para. 2.7, p.14, published BEIS, 12 July 2011. | 6.7 Table 8 indicates that if installations Awaiting Approval are added to the installations in Table 6 |  | Industrial Strategy for its model of 2050. | [11 empty] | TWh | % of Total |  | Waste Incineration | 2 | 106 | 0.3602 | 0.33447 |  | Plant Biomass | 6 | 2470.4 | 0.75498 | 16.3384 |  |  | Advanced Conversion | 1 | 81 | 0.82 | 0.58184 |  | Advanced Conversion | 1 | 81 | 0.82 | 0.58184 |  |  | Operational | 869734 | 43233.1624 | 0.30402 | 115.138 | 48.6595 |  | 9 | 91.6 | 0.82 | 0.65798 | 9.5856 | Scotland |  |  |  | Scotland | 8 | 4157 | 0.39924 | 14.5385 | 14.3036 |  | Plant Biomass | 1 | 3.2 | 0.74788 | 0.020965 | 4.2038
[5 empty] | there is a modest increase to 65%. | [16 empty] | Plant Biomass | 1 | 50.4 | 0.74788 | 0.33019 |  | Wind Onshore | 52 | 5203.1 | 0.26617 | 12.1318 |  |  | Hydro Large | 2 | 165 | 0.35518 | 0.51338 |  | Hydro Large | 3 | 365 | 0.35518 | 1.1357 |  |  | Under Construction | 131 | 10079.8927 | 0.39246 | 34.6546 | 14.6457 |  | 3 | 38 | 0.82 | 0.27296 | 3.9766 | Wales |  |  |  | Wales | 2 | 876 | 0.39924 | 3.0637 | 3.0142 |  | Hydro Small | 11 | 0.13768 | 0.38168 | 0.00046034 | 0.092307
|  | 2. The means by which reduction was to be carried out was for a local authority not to claim |  | 2. There are two criteria that have to be satisfied for an installation to be of National Significance: |  |  | 11.2 70% of the UK generation is from Installations of National Significance and 30% is from | [7 empty] | 30 Jun 2011 | 2 | 23 | Operational only | 6.6262 | 31.4233 |  | NATIONAL SIGNIFICANCE | 23 | 2372.4 | 0.31884 | 6.6262 | 31.4233 | Waste Incineration | 6 | 416 | 0.35702 | 1.301 |  |  | Plant Biomass | 8 | 3068.4 | 0.74788 | 20.1024 |  | Plant Biomass | 9 | 3328.4 | 0.74788 | 21.8058 |  |  | Awaiting Construction | 809 | 21706.9954 | 0.3127 | 59.4601 | 25.129 |  | 2 | 9 | 0.82 | 0.064649 | 0.94182 | Northern Ireland |  |  |  | UK | 40 | 27714.2 | 0.39924 | 96.926 | 95.3604 |  | Landfill Gas | 2 | 9 | 0.43042 | 0.033934 | 6.8045
|  | the output from an installation of National Significance for its area but to allow the aggregate |  | location and installed capacity. If its location is offshore its installed capacity has to be greater than | 7. The increase in annual generation for operational installations of National Significance from 31.4% |  | Installations of Local Significance situated in the 379 Local Authorities that constitute the UK. | [8 empty] | 3 | 57 | Operational, Under Construction and Awaiting Construction | 25.9188 | 46.3786 |  | Wind Onshore | 1750 | 2920.701 | 0.26436 | 6.7636 |  | Hydro Large | 2 | 165 | 0.35142 | 0.50795 |  |  | Solar Photovoltaics | 2 | 419.8 | 0.1102 | 0.40525 |  | Solar Photovoltaics | 3 | 481.8 | 0.1102 | 0.46511 |  |  | Awaiting Approval | 390 | 13475.2289 | 0.23184 | 27.3672 | 11.5659 | Anaerobic Digestion | 146 | 355.1 | 0.61428 | 1.9108 | 83.9282 | England |  |  | LOCAL | England | 12 | 794.3 | 0.39924 | 2.7779 | 2.7331 |  | Photovoltaic | 8601 | 384.1026 | 0.12 | 0.40377 | 80.964
|  | output from all such installations to be distributed, virtually, to every local administration as 50% |  | 100 MW. If its location is onshore its installed capacity has to be greater than 50 MW. All other | at 30 June 2011 to 54.2% at 31 December 2021 (having been forecast to increase to about 50%), | [16 empty] | Landfill Gas | 264 | 741.1 | 0.43042 | 2.7943 |  | Solar Photovoltaics | 1 | 69.8 | 0.10989 | 0.067192 |  |  | Tidal | 1 | 320 | 0.037072 | 0.10392 |  | Tidal | 3 | 760 | 0.037072 | 0.24681 |  |  | TOTAL | 871064 | 88495.2795 | 0.30523 | 236.6198 | 100 |  | 18 | 38.5 | 0.61428 | 0.20717 | 9.0995 | Scotland |  |  |  | Scotland | 9 | 404.1 | 0.39924 | 1.4133 | 1.3904 |  | Onshore Wind | 24 | 0.8255 | 0.26432 | 0.0019114 | 0.38327
|  | of its 2020 target. It can be noted that the 2020 target required 15% of total energy consumption |  | installations are defined as being of Local Significance. | represents a mean annual increase of 2.17%. If this rate of increase were to be maintained, the |  | 11.3 The UK 2050 target has been suggested by the Government. The 2050 targets for England, | [14 empty] | Plant Biomass | 174 | 246.5582 | 0.74748 | 1.6145 |  | NATIONAL SIGNFICANCE | 90 | 17512.5 | 0.40183 | 61.6452 | 54.1339 |  | Waste Incineration | 11 | 782 | 0.3602 | 2.4675 |  | Waste Incineration | 12 | 857 | 0.3602 | 2.7041 | [9 empty] | 11 | 20.1 | 0.61428 | 0.10816 | 4.7507 | Northern Ireland |  |  |  | Wales | 2 | 150 | 0.39924 | 0.5246 | 0.51613 |  | TOTAL | 8653 | 404.2648 | 0.14082 | 0.4987 | 100
|  | to be generated by renewable sources. In contrast, the current 2050 target requires 100% of |  |  | the estimate in Table 8 could be reached in about 5 years. |  | Dorset and BCP are based on 2019 electricity consumption4. These are then expressed as a | [7 empty] | 31 Dec 2020 | 4 | 90 | Operational only | 61.6452 | 54.1339 |  | Waste Incineration | 22 | 338.1 | 0.3602 | 1.0668 |  | Wind Onshore | 7272 | 8271.5897 | 0.26632 | 19.2974 |  |  | Wind Offshore | 38 | 25614.2 | 0.39924 | 89.5816 |  | Wind Offshore | 40 | 27714.2 | 0.39924 | 96.926 |  |  | Table11a LOAD FACTORS FOR INSTALLATIONS WITH A CAPACITY OF 0.2 MW or ABOVE |  |  | Table11b LOAD FACTORS FOR INSTALLATIONS WITH A CAPACITY BELOW 0.2 MW |  |  |  | 6 | 9.4 | 0.61428 | 0.050582 | 2.2217 | Wales |  |  |  | UK | 23 | 1348.4 | 0.39924 | 4.7158 | 4.6396
|  | total electricity consumption to be generated from renewable sources. |  | 3. The installed capacities to produce this report have been taken from two Government publications: |  |  | percentage of the UK consumption in 2019. These percentages are then applied to the UK 2050 | [7 empty] | 31 Dec 2021 | 5 | 91 | Operational only | 62.4346 | 54.2336 |  | Hydro Large | 21 | 305.6 | 0.35518 | 0.95084 |  | Solar Photovoltaics | 859771 | 12123.3644 | 0.10722 | 11.3867 |  |  | Wind Onshore | 90 | 8887.1 | 0.26432 | 20.5776 |  | Wind Onshore | 120 | 12883.7 | 0.26432 | 29.8315 | [8 empty] | Plant Biomass | 67 | 3593.1 | 0.74788 | 23.5399 | 79.0646 | England |  |  | NATIONAL & LOCAL | England | 42 | 23475.5 | 0.39924 | 82.1019 | 80.7756 |  | Table 17 BCP OPERATIONAL RENEWABLE ELECTRICITY
|  |  |  | the Renewable Energy Planning Database (REPD) Extract, which records capacities from the highest | 8. Ambitions set out by Government in its recent British Energy Security Strategy, published |  | Government target to obtain an unadjusted 2050 target that requires to be reduced by 70% to | [8 empty] | 6 | 153 | Operational, Under Construction and Awaiting Construction | 134.3335 | 64.196 |  | Wind Offshore | 4 | 194.8 | 0.39924 | 0.68128 |  | Plant Biomass | 600 | 990.4796 | 0.75462 | 6.5475 |  |  | NATIONAL SIGNFICANCE | 153 | 39337.5 | 0.38983 | 134.3335 | 64.196 | NATIONAL SIGNIFICANCE | 191 | 46471.1 | 0.18404 | 153.6968 | 64.7767 | [8 empty] | 18 | 498.21 | 0.74788 | 3.264 | 10.9629 | Scotland |  |  |  | Scotland | 17 | 4561.1 | 0.39924 | 15.9517 | 15.6941 |  | INSTALLLATIONS at 31 December 2021
|  | 3. At the time the decision was made, 23 Installations of National Significance were responsible |  | down to 0.1 MW and the Feed-in Tariff (FIT) Installation Report which records capacities from 5 MW | 7 April 2022, suggest that 65% could be a conservative estimate of what might be achieved by 2030: |  | allow for its share of generation from Installations of National Significance. | [14 empty] | Hydro Small | 241 | 82.3403 | 0.38138 | 0.27509 |  | Wind Offshore | 19 | 1218.5 | 0.38886 | 4.1507 |  |  | Advanced Conversion | 64 | 846.6 | 0.82 | 6.0813 |  | Advanced Conversion | 65 | 874.6 | 0.82 | 6.2824 |  |  | Advanced Conversion* | 0.82 |  | Anaerobic Digestion |  | 0.71976 |  | 11 | 433.6 | 0.74788 | 2.8407 | 9.5412 | Wales |  |  |  | Wales | 4 | 1026 | 0.39924 | 3.5883 | 3.5303 |  | Technology | Number of Installations | Capacity MW | Load Factor | Generation
|  | for 31% of UK renewable electricity output. By 31 December 2020 these figures had risen to 90 |  | down to the lowest, 0.02 kW. Only capacities of 0.2 MW and above in the REPD Extract and below | [17 empty] | Anaerobic Digestion | 21 | 32.696 | 0.61653 | 0.17658 |  | Landfill Gas | 268 | 747.7 | 0.46004 | 3.0132 |  |  | Anaerobic Digestion | 244 | 425.3117 | 0.61622 | 2.2959 |  | Anaerobic Digestion | 248 | 430.9117 | 0.61619 | 2.326 |  |  | Anaerobic Digestion | 0.61428 |  | Hydro Small |  | 0.37724 |  | 3 | 19.6 | 0.74788 | 0.12841 | 0.43129 | Northern Ireland |  |  |  | UK | 63 | 29062.6 | 0.39924 | 101.6419 | 100 | [5 empty] | Annual TWh | % of Total
|  | and 54%, respectively. This evidence and an analysis of future trends, importantly the Government |  | 0.2 MW in the FIT report have been utilised. This allows full coverage of the data available and avoids | 8.1 It is determined to deploy 50 GW of offshore wind by that date. 29.1 GW of this is either |  | 11.4 Table 1b also provides information on current renewable energy generation from installations of | [8 empty] | 7 | 38 | Submitted for Approval only | 19.3634 | 69.11 |  | Solar Photovoltaics | 42591 | 121.1621 | 0.10119 | 0.1074 |  | Waste Incineration | 49 | 934.1 | 0.35702 | 2.9214 |  |  | Hot Dry Rocks | 2 | 10 | 0.91 | 0.079716 |  | Hot Dry Rocks | 2 | 10 | 0.91 | 0.079716 |  |  | Waste Incineration | 0.3602 |  | Plant Biomass* |  | 0.13156 | Waste Incineration | 99 | 2700.25 | 0.3602 | 8.5202 | 89.0599 | England
INSTALLATIONS OF NATIONAL SIGNIFICANCE AND |  | focus on offshore wind and nuclear, suggest that a figure of 70% is possible in the medium to |  | duplication. | operational or already in the planning pipeline. Offshore wind's historical record (Table 8) indicates |  | Local Significance, the balance of generation required to meet the 2050 target and the % of unused | [8 empty] | 8 | 191 | Operational, Under Construction, Awaiting Construction and Submitted for Approval | 153.6968 | 64.7762 |  | Sewage Sludge Digestion | 1 | 5.5 | 0.46838 | 0.022567 |  | Anaerobic Digestion | 209 | 338.1787 | 0.60514 | 1.7927 |  |  | Hydro Large | 21 | 305.6 | 0.35518 | 0.95084 |  | Hydro Large | 22 | 315.6 | 0.35518 | 0.98195 |  |  | Hot Dry Rocks** | 0.91 |  | Solar Photovoltaics |  | 0.10111 |  | 14 | 229 | 0.3602 | 0.72258 | 7.5529 | Scotland |  | UK Renewable Electricity Installations of All Development Statuses | [8 empty] | Solar Photovoltaics | 6443 | 25.3933 | 0.12 | 0.026693 | 100
THE SETTING OF LOCAL RENEWABLE ELECTRICITY TARGETS |  | long term. |  |  | that 95.4% of the remaining 20.9 GW could generate an annual 73.23 TWh from installations of |  | buildings necessary to reach the target by installation of roof-mounted solar photovoltaics. | [14 empty] | Shoreline Wave | 2 | 24 | 0.037072 | 0.0077941 |  | Advanced Conversion | 17 | 186.3 | 0.82 | 1.3382 |  |  | Hydro Small | 1064 | 223.3993 | 0.38085 | 0.74531 |  | Hydro Small | 1067 | 226.1493 | 0.7545 | 0.7545 |  |  | Hydro Large | 0.35518 |  | Onshore Wind |  | 0.26939 |  | 4 | 73.8 | 0.3602 | 0.23286 | 2.4341 | Wales |  | Table 14 LOCATION OF ONSHORE WIND at 31 December 2021 | [8 empty] | TOTAL | 6443 | 25.3933 | 0.12 | 0.026693 | 100
|  |  |  | 4. Although the distinction between national and local is based on installed capacity, an installation's | National Significance. This would increase their contribution from 153.70 TWh to 226.93 TWh. | [16 empty] | LOCAL SIGNIFICANCE | 45091 | 5012.5577 | 0.32933 | 14.4608 | 68.5767 | Hydro Large | 21 | 305.6 | 0.35142 | 0.94078 |  |  | Landfill Gas | 272 | 793.2 | 0.43042 | 2.9907 |  | Landfill Gas | 276 | 809.54 | 0.43042 | 3.0506 |  |  | Hydro Small | 0.38168 |  | *Micro CHP |  |  |  | 2 | 28.9 | 0.3602 | 0.09119 | 0.95318 | Northern Ireland |  | Technology | Significance | Country | Number of Installations | Capacity MW | Load Factor | Generation
|  | 4. The significance of a 70% reduction in the 2050 target is summarised in Tables A & B on page 4 |  | performance is based on energy generation. The load factors required to calculate energy generation | [17 empty] | NATIONAL + LOCAL | 45114 | 7384.9577 | 0.32596 | 21.087 | 100 | Hydro Small | 1008 | 186.376 | 0.38312 | 0.62551 |  |  | Plant Biomass | 310 | 1216.3777 | 0.74774 | 7.9676 |  | Plant Biomass | 310 | 1216.3777 | 0.74774 | 7.9676 |  |  | Landfill gas | 0.43042 |  |  |  |  | Hot Dry Rocks | 2 | 10 | 0.91 | 0.079716 | 100 | England | [7 empty] | Annual TWh | % of Total | % Split NS/LS | NOTE
|  | for three authorities: England, Dorset Council UA and Bournemouth, Christchurch & Poole UA. |  | have also been taken from two Government sources: The Digest of UK Energy Statistics (DUKES), | 8.2 It refers to the Scottish Government's 28 October 2021 Consultation Paper on Onshore Wind |  | Table A | [20 empty] | Sewage Digestion | 12 | 50.2 | 0.46595 | 0.2049 |  |  | Sewage Sludge Digestion | 12 | 50.2 | 0.46838 | 0.20597 |  | Sewage Sludge Digestion | 12 | 50.2 | 0.46838 | 0.20597 |  |  | Plant Biomass | 0.74788 |  | SOURCE |  |  | Landfill Gas | 229 | 659.74 | 0.43042 | 2.4875 | 81.4957 | England | [10 empty] | 1. All installations shown for Dorset were commissioned in the County.
|  |  |  | Table 6.5, published, BEIS 30 Jul 2020, for the larger installations (Table 11a) and Feed-in Tariff Load | Policy. This states its ambition to have up to 20.4 GW of onshore wind installed by 2030. Scotland |  | Administrative Authority | 2019 Electricity Consumption (most recent available) |  | 2050 Higher Demand5 | Contribution from Installations of National Significance |  | Balance Required to Meet Demand |  | UK Renewable Electricity Installations | [6 empty] | UK Renewable Electricity Installations | [5 empty] | Shoreline Wave | 2 | 24 | 0.037072 | 0.0077941 |  |  | Shoreline Wave | 2 | 24 | 0.037072 | 0.0077941 |  | Shoreline Wave | 4 | 51 | 0.037072 | 0.016562 |  |  | Sewage Sludge Digestion | 0.46838 |  | Mean load factors for the 5-years 2016/17 to 2020/21, |  |  |  | 31 | 107.5 | 0.43042 | 0.40533 | 13.2791 | Scotland |  | Wind Onshore | NATIONAL | England | 8 | 471.6 | 0.26432 | 1.092 | 1.8469 |  | 2. The Load Factor shown for Solar Photovoltaics is appropriate for Dorset
|  | 5. As an example, Dorset Council's target of 3.84 TWh is reduced to 1.15 TWh. Allowing |  | Factors, Energy Trends, published BEIS, 22 Dec 2020, for the smaller (FIT) installations (Table 11b). | already has18.86 GW that are either operational or in the planning pipeline. Scotland's onshore wind | [9 empty] | Table 1 (b) SUMMARY OF ESTIMATES OF GENERATION BY INSTALLATIONS OF LOCAL SIGNIFICANCE | [6 empty] | Table 3 OPERATIONAL, UNDER CONSTRUCTION & AWAITING | [5 empty] | Tidal | 4 | 10.5 | 0.037072 | 0.0034099 |  |  | Solar Photovoltaics | 860899 | 16755.3036 | 0.10819 | 15.8799 |  | Solar Photovoltaics | 861144 | 21653.6923 | 0.10865 | 20.6085 |  |  | Solar Photovoltaics | 0.1102 |  | Research & analysis, Annual Feed-in Tariff |  |  |  | 14 | 38.1 | 0.43042 | 0.14366 | 4.7064 | Wales |  |  |  | Scotland | 111 | 11947.2 | 0.26432 | 27.6631 | 46.7893 | 63.3589 | and BCP*, all others are shown in Table 11a.
|  | for current generation of 0.50 TWh, the remaining 0.65 TWh could be provided by |  | Three technologies are not covered in these reports. Load factors for these have been obtained | historical record (Table 14) indicates that 63.4% of the balance of 1.54 GW could generate an annual | [16 empty] | CONSTRUCTION at 30 June 2011 | [5 empty] | LOCAL SIGNIFICANCE | 869252 | 25386.8884 | 0.23486 | 52.2302 | 45.8661 |  | Tidal | 11 | 172.9 | 0.037072 | 0.05615 |  | Tidal | 12 | 272.9 | 0.037072 | 0.088625 |  |  | Tidal and Wave** | 0.037072 |  | Load Factors, published BEIS, 23 December 2021. |  |  |  | 2 | 4.2 | 0.43042 | 0.015836 | 0.51881 | Northern Ireland |  |  |  | Wales | 7 | 760.9 | 0.26432 | 1.7618 | 2.9799
|  | installation of roof-mounted solar photovoltaic panels on 50.3% of currently unutilised |  | elsewhere. | 2.26 TWh. This can be added to future generation of National Significance, raising it from 226.93 TWh | [9 empty] | Date of Assessment | Table Number | Number of Installations | Development Status of installations | Annual Generation of National Significance |  |  | Technology | Number of Installations | Capacity MW | Load Factor | Generation |  | NATIONAL + LOCAL | 869342 | 42899.3884 | 0.30302 | 113.8754 | 100 |  | Waste Incineration | 97 | 1969.2 | 0.3602 | 6.2135 |  | Waste Incineration | 107 | 2174.95 | 0.3602 | 6.8627 |  |  | Wind Offshore | 0.39924 |  |  |  |  | Hydro Large | 20 | 422.6 | 0.35518 | 1.3149 | 62.0923 | Scotland |  |  |  | NI | 1 | 54 | 0.26432 | 0.12503 | 0.21148 |  | *Bournemouth, Christchurch & Poole Unitary Authority.
|  | domestic, commercial and public buildings. The methodology employed to allow these |  |  | to 229.19 TWh. |  |  | TWh | % of UK | TWh | % of UK | TWh | TWh | [12 empty] | Annual TWh | Split % | [7 empty] | Wind Offshore | 23 | 1348.4 | 0.39924 | 4.7158 |  | Wind Offshore | 23 | 1348.4 | 0.39924 | 4.7158 |  |  | Wind Onshore | 0.26432 | [5 empty] | 3 | 216.1 | 0.35518 | 0.67237 | 31.7514 | England |  |  |  | UK | 127 | 13233.7 | 0.26432 | 30.6419 | 51.8277
|  | conclusions is the subject of a sister report "Solar Photovoltaics in 2050 Renewable |  | 5. The installations recorded in this report are either operational or in the planning pipeline. |  |  | UK (379 LAs) | 280.0132 | 100 | 676.7506 | 70 | 473.7254 | 203.0252 | [14 empty] | UK Renewable Electricity Installations | [6 empty] | Wind Onshore | 7500 | 11542.0582 | 0.26438 | 26.7314 |  | Wind Onshore | 7591 | 12795.6085 | 0.26438 | 29.6339 | [9 empty] | 2 | 41.9 | 0.35518 | 0.13037 | 6.1563 | Wales |  |  | LOCAL | England | 288 | 2528.4003 | 0.26432 | 5.8544 | 9.9021
|  | Electricity Technology Mixes and the Role of Roof-Mounted Installations. |  | Installations in the pipeline are those that have been submitted for planning consent, those that have | 8.2.1 It can be noted (Table 14) that Scotland is responsible for 73.8% of the UK operational and |  | England (314 LAs) | 230.1403 | 82.1891 | 556.2152 | 70 | 389.3506 | 166.8646 | [5 empty] | TWh | % of Total |  | Wind Offshore | 12 | 3830.2 | 0.39924 | 13.3955 |  | Table 5 OPERATIONAL at 31 December 2021 | [6 empty] | LOCAL SIGNIFICANCE | 870521 | 35682.5506 | 0.23969 | 74.9219 | 35.804 | LOCAL SIGNIFICANCE | 870883 | 42229.9295 | 0.22592 | 83.5749 | 35.2233 |  | SOURCES | [5 empty] | Sewage Sludge Digestion | 11 | 44.7 | 0.46838 | 0.1834 | 89.0438 | England |  |  |  | Scotland | 422 | 6909.2 | 0.26432 | 15.9979 | 27.0588 | 36.6411
|  |  |  | been permitted and are awaiting construction and those that are under construction. The attrition that | potential generation from onshore wind. This contrasts with England's 11.7% contribution to the total. |  | Dorset | 1.5878 | 0.56704 | 3.8374 | 70 | 2.6862 | 1.1512 | [8 empty] | Wind Onshore | 35 | 3384.2 | 0.26432 | 7.8359 |  | Technology | Number of Installations | Capacity MW | Load Factor | Generation |  |  | NATIONAL + LOCAL | 870674 | 75020.0506 | 0.31842 | 209.2554 | 100 | NATIONAL + LOCAL | 871074 | 88701.0295 | 0.30536 | 237.2718 | 100 |  | *Mark Harradine, Technical Director, Syngas Products, Poole. | [6 empty] | 1 | 5.5 | 0.46838 | 0.022567 | 10.9562 | Wales |  |  |  | Wales | 88 | 1109.6 | 0.26432 | 2.5692 | 4.3456
|  |  |  | occurs as installations pass through the pipeline has not been taken into account and the aggregate | The 7 April 2022 strategy announcement is clear that the long-standing suppression of onshore wind |  | BCP | 1.4729 | 0.52601 | 3.5598 | 70 | 2.4918 | 1.0679 |  | 30 Jun 2011 | 2 | 45091 | Operational only | 14.4608 | 68.5767 |  | Plant Biomass | 3 | 414.4 | 0.74788 | 2.7149 | [5 empty] | Annual TWh | Split % | [14 empty] | **Estimate from literature. | [5 empty] | Wave | 1 | 23 | 0.037072 | 0.0074693 | 45.0992 | England |  |  |  | NI | 204 | 1753.15 | 0.26432 | 4.0593 | 6.8659
|  |  |  | annual energy generation for these installations represents a theoretical maximum for eventual | deployment in England is likely to continue. | [10 empty] | 3 | 45472 | Operational, Under Construction and Awaiting Construction | 29.9664 | 53.6214 |  | Waste Incineration | 4 | 278 | 0.3602 | 0.87719 | [8 empty] | UK Renewable Electricity Installations | [5 empty] | UK Renewable Electricity Installations | [6 empty] | Remainder: Mean load factors for the 5-years 2016 to 2020, | [6 empty] | 2 | 21 | 0.037072 | 0.0068198 | 41.1776 | Scotland |  |  |  | UK | 714 | 12300.3503 | 0.26432 | 28.4808 | 48.1723
|  |  |  | deployment. Although the magnitude of future generation is uncertain, the split of annual energy |  |  | Table B | [14 empty] | Advanced Conversion | 1 | 81 | 0.82 | 0.58184 |  | Wind Offshore | 23 | 9188.2 | 0.39924 | 32.1343 |  |  | Table 7 AWAITING APPROVAL at 31 December 2021 | [5 empty] | Table 9 AS Table 8 WITH DATA FOR NATIONAL AND | [6 empty] | for schemes operating on an unchanged configuration basis, | [6 empty] | 1 | 7 | 0.037072 | 0.0022733 | 13.7259 | Wales |  |  | NATIONAL & LOCAL | England | 296 | 3000.0003 | 0.26432 | 6.9463 | 11.749
|  |  |  | generation between National and Local installations expressed as percentages is not significantly | 8.3 It sets out its ambition for the UK to have 24 GW of operational nuclear power by 2050. Assuming |  | Administrative Authority | Operational Installations of Local Significance at 31 Dec 2021* |  | Balance Required to Meet Demand | Solar PV Available from Unused Buildings | % of Unused Buildings Required | Average Capacity per Roof | Number of Buildings Required | [7 empty] | Hydro Large | 2 | 165 | 0.35518 | 0.51338 |  | Plant Biomass | 6 | 2470.4 | 0.74788 | 16.1846 |  |  | Technology | Number of Installations | Capacity MW | Load Factor | Generation |  | LOCAL INSTALLATIONS COMBINED | [6 empty] | Digest of UK Energy Statistics (DUKES), Table 6.5, | [5 empty] | Hydro Small | 87 | 161.35 | 0.38168 | 0.53948 | 87.6187 | Scotland |  |  |  | Scotland | 533 | 18856.4 | 0.26432 | 43.6609 | 73.8481
|  |  |  | affected unless their attrition rates are significantly different. Whether or not there is a significant | a load factor of 0.9, this would be sufficient to generate an annual 189.22 TWh or 28% of the BEIS | [9 empty] | 31 Dec 2020 | 4 | 869252 | Operational only | 52.2302 | 45.8661 |  | NATIONAL SIGNIFICANCE | 57 | 8152.8 | 0.36291 | 25.9188 | 46.3786 | Wind Onshore | 53 | 5278.6 | 0.26432 | 12.2223 | [6 empty] | Annual TWh | Split % | Technology | Number of Installations | Capacity MW | Load Factor | Generation |  |  | published BEIS 29 July 2021. | [6 empty] | 6 | 14.9 | 0.38168 | 0.049818 | 8.0912 | Wales |  |  |  | Wales | 95 | 1870.5 | 0.26432 | 4.331 | 7.3255
|  |  |  | difference in rates has not been determined for the data published in this report. | Dynamic Dispatch Team's estimate of 676.76 TWh for high electricity demand in 2050. | [9 empty] | 31 Dec 2021 | 5 | 869449 | Operational only | 52.6836 | 45.7648 |  | Wind Onshore | 1930 | 5464.301 | 0.26939 | 12.895 |  | Waste Incineration | 6 | 416 | 0.3602 | 1.3126 | [12 empty] | Annual TWh | % of Total | [8 empty] | 12 | 7.9 | 0.38168 | 0.026414 | 4.29 | England |  |  |  | NI | 205 | 1807.15 | 0.26432 | 4.1844 | 7.0774
[16 empty] | 6 | 870521 | Operational, Under Construction and Awaiting Construction | 74.9219 | 35.804 |  | Plant Biomass | 195 | 710.6582 | 0.74774 | 4.655 |  | Hydro Large | 2 | 165 | 0.35518 | 0.51338 |  |  | Hydro Large | 1 | 200 | 0.35518 | 0.62228 | [14 empty] | Solar Photovoltaics | 1650 | 16338.8853 | 0.1102 | 15.7728 | 88.6223 | England |  |  |  | UK | 1129 | 25534.0503 | 0.26432 | 59.1226 | 100
|  |  |  | 6. Tables 2 to 9 of this report provide detailed estimates of the contribution of installations of National | 8.3.1 All operational and planned UK nuclear power stations have an installed capacity well in excess | [16 empty] | Wind Offshore | 13 | 985.3 | 0.39924 | 3.4459 |  | Solar Photovoltaics | 1 | 69.8 | 0.1102 | 0.067382 |  |  | Plant Biomass | 1 | 260 | 0.74788 | 1.7034 |  | Wind Offshore | 63 | 29062.6 | 0.39924 | 101.6419 | 42.8379 | [8 empty] | 79 | 508.2133 | 0.1102 | 0.4906 | 2.7566 | Scotland
|  |  |  | and Local Significance to UK renewable energy generation from 30 Jun 2011 to 31 Dec 2021. | of 100 MW and are considered to be of National Significance. They play an important role as a reliable |  |  | Number | TWh | TWh | TWh |  | kW | [8 empty] | Landfill Gas | 266 | 746.2 | 0.43042 | 2.8135 |  | NATIONAL SIGNFICANCE | 91 | 17588 | 0.40523 | 62.4346 | 54.2223 |  | Solar Photovoltaics | 1 | 62 | 0.1102 | 0.059852 |  | Wind Onshore | 7711 | 25679.4585 | 0.26435 | 59.4658 | 25.0624 | [8 empty] | 32 | 366.85 | 0.1102 | 0.35414 | 1.9898 | Northern Ireland |  | UK Renewable Electricity Installations of All Development Statuses
|  |  |  | Tables 1 (a) &1 (b) provide summaries of data for installations of National Significance and | "low-carbon" (rather than renewable) source of electricity when wind speeds and sunlight are at low |  | UK (379 LAs) | 869450 | 52.711 | 150.3142 | unknown** | unknown** | unknown** | unknown** |  | 7 | 362 | Submitted for Approval only | 8.6548 | 30.89 |  | Waste Incineration | 38 | 740.8 | 0.3602 | 2.3375 |  | Wind Onshore | 7274 | 8443.2082 | 0.26441 | 19.5562 |  |  | Tidal | 2 | 440 | 0.037072 | 0.14289 |  | Plant Biomass | 319 | 4544.7777 | 0.74784 | 29.7733 | 12.5483 | [8 empty] | 162 | 1222.5924 | 0.1102 | 1.1802 | 6.6314 | Wales |  | Table 15 LOCATION OF SOLAR PHOTOVOLTAICS at 31 December 2021
|  |  |  | Local Significance, respectively. | levels. The term "low carbon" is used because although nuclear technology does not emit greenhouse |  | England (314 LAs) | 787359 | 33.2654 | 133.5992 | 155.5948 | 85.8635 | 6.2995 | 21596854.6174 |  | 8 | 870883 | Operational, Under Construction, Awaiting Construction and Submitted for Approval | 83.5767 | 35.2238 |  | Advanced Conversion | 16 | 175 | 0.82 | 1.2571 |  | Solar Photovoltaics | 860468 | 12181.1469 | 0.10744 | 11.4642 |  |  | Waste Incineration | 1 | 75 | 0.3602 | 0.23665 |  | Solar Photovoltaics | 861147 | 22135.9759 | 0.10868 | 21.0746 | 8.8821 | [7 empty] | Tidal | 2 | 560 | 0.037072 | 0.18186 | 54.2163 | Wales |  | Technology | Significance | Country | Number of Installations | Capacity MW | Load Factor | Generation
| David Peacock BSc(Eng) ARSM MAIME DIC PhD |  |  |  | gases, it relies upon uranium as a fuel, which is clearly not renewable. |  | Dorset | 8653 | 0.4987 | 0.65253 | 1.2968 | 50.3194 | 7.1928 | 92383.9024 | [7 empty] | Hydro Large | 21 | 305.6 | 0.35518 | 0.95084 |  | Plant Biomass | 71 | 993.8 | 0.74788 | 6.5108 |  |  | Wind Offshore | 2 | 2100 | 0.39924 | 7.3444 |  | Waste Incineration | 119 | 3031.95 | 0.3602 | 9.5669 | 4.032 | [8 empty] | 10 | 340.9 | 0.037072 | 0.11071 | 33.0042 | Scotland | [7 empty] | Annual TWh | % of Total
| Telephone 07947228063 |  |  | 6.1 Table 2 shows the annual contribution from operational installations of National Significance |  |  | BCP | 6443 | 0.026693 | 1.0412 | 1.0598 | 98.2438 | 6.16 | 172131.9795 | [7 empty] | Anaerobic Digestion | 59 | 123.996 | 0.61487 | 0.66788 |  | Wind Offshore | 19 | 1218.5 | 0.39924 | 4.2615 |  |  | Wind Onshore | 30 | 3996.6 | 0.26432 | 9.2539 |  | Advanced Conversion | 66 | 955.6 | 0.82 | 6.8643 | 2.893 | [8 empty] | 1 | 100 | 0.037072 | 0.032475 | 9.6815 | Northern Ireland
| Email peacock@surfree.co.uk |  |  | at 30 June 2011, close to the 12 July 2011 publication date of the BEIS Road Map, to be just 31%. | 8.3.2 When added to the previously unidentified contributions to generation of National Significance |  |  | *Dorset and BCP have no installations |  |  |  | **Building numbers for Scotland, Wales and | [9 empty] | Solar Photovoltaics | 42673 | 458.1621 | 0.10782 | 0.43272 |  | Waste Incineration | 49 | 934.1 | 0.3602 | 2.9474 |  |  | NATIONAL SIGNFICANCE | 38 | 7133.6 | 0.30986 | 19.3634 | 69.1143 | Landfill Gas | 276 | 809.54 | 0.43042 | 3.0524 | 1.2864 | [8 empty] | 2 | 32 | 0.037072 | 0.010392 | 3.0981 | England |  | Solar Photovoltaics | NATIONAL | England | 2 | 419.8 | 0.1102 | 0.40525 | 2.277
[5 empty] | from offshore and onshore wind (8.1 & 8.2 above) the 189.22 TWh generation from nuclear raises the |  |  | of National Significance |  |  |  | Northern Ireland have not been assessed. | [9 empty] | Hydro Small | 252 | 106.5403 | 0.38145 | 0.356 |  | Landfill Gas | 269 | 748.7 | 0.43042 | 2.823 |  |  | Advanced Conversion | 1 | 28 | 0.82 | 0.20113 |  | Anaerobic Digestion | 248 | 430.278 | 0.61604 | 2.322 | 0.97863 | [7 empty] | Offshore Wind | 42 | 23475.5 | 0.39924 | 82.1019 | 80.7756 | England |  |  |  | Wales | 1 | 62 | 0.1102 | 0.059852 | 0.33629
|  |  |  | 6.2 Table 3 shows that the contribution increases to 46% if installations with planning consent | identified generation in Table 8 from 153.70 to 418.41 TWh, an increase of 172%. It can be noted | [16 empty] | Hot Dry Rocks | 2 | 10 | 0.91 | 0.079716 |  | Anaerobic Digestion | 213 | 340.1117 | 0.6167 | 1.8374 |  |  | Anaerobic Digestion | 4 | 5.6 | 0.61428 | 0.030134 |  | Hydro Large | 25 | 680.6 | 0.35518 | 2.1176 | 0.89248 | [8 empty] | 17 | 4561.1 | 0.39924 | 15.9517 | 15.6941 | Scotland |  |  |  | UK | 3 | 481.8 | 0.1102 | 0.46511 | 2.6133
| Revised report 22 April 2024 |  |  | that are under construction or awaiting construction are included. | that 418.41 TWh represents 83.435% of total generation but this would be reduced by increases in |  | REFERENCES | [14 empty] | Sewage Sludge Digestion | 3 | 15.5 | 0.46838 | 0.063597 |  | Advanced Conversion | 18 | 206.3 | 0.82 | 1.4819 |  |  | Hydro Large | 1 | 10 | 0.35518 | 0.031114 |  | Hydro Small | 1067 | 226.1493 | 0.38086 | 0.7545 | 0.31799 | [8 empty] | 4 | 1026 | 0.39924 | 3.5883 | 3.5303 | Wales |  |  | LOCAL | England | 1648 | 15919.0853 | 0.1102 | 15.3675 | 86.3451
[5 empty] | generation of Local Significance that have not been estimated for inclusion in this report. |  | 1. Guidance on Nationally Significant Infrastructure, Planning Act 2008, published DCLG, March 2017. | [14 empty] | Shoreline Wave | 2 | 24 | 0.037072 | 0.0077941 |  | Hydro Large | 21 | 305.6 | 0.35518 | 0.95084 |  |  | Hydro Small | 3 | 2.75 | 0.38168 | 0.0091947 |  | Tidal | 15 | 1032.9 | 0.037072 | 0.33544 | 0.14137 | [7 empty] | Onshore Wind | 533 | 18856.4 | 0.26432 | 43.6609 | 73.8469 | Scotland |  |  |  | Scotland | 79 | 508.2133 | 0.1102 | 0.4906 | 2.7565
|  |  |  | 6.3 Table 4 indicates that the actual contribution from operational installations at 31 December 2020 |  |  | 2. National Policy Statement for Renewable Energy Infrastructure (EN-3), published DECC, Jul 2011. | [14 empty] | Tidal | 2 | 12 | 0.037072 | 0.003897 |  | Hydro Small | 1033 | 190.8993 | 0.3807 | 0.63664 |  |  | Landfill Gas | 4 | 16.34 | 0.43042 | 0.059852 |  | Sewage Sludge Digestion | 12 | 50.2 | 0.46838 | 0.20597 | 0.086808 | [8 empty] | 296 | 3000 | 0.26432 | 6.9466 | 11.7492 | England |  |  |  | Wales | 161 | 1160.5924 | 0.1102 | 1.1204 | 6.295
|  |  |  | (the last day of Target Year 2020), published 23 February 2021, was 54.1%. | 9. In conclusion, the above analysis suggests that it would be safe to assume that by 2030 the |  | 3. Overarching National Policy Statement for Energy (EN-1), published DECC, July 2011. | [14 empty] | LOCAL SIGNIFICANCE | 45472 | 9878.0577 | 0.34631 | 29.9664 | 53.6214 | Sewage Sludge Digestion | 12 | 50.2 | 0.46838 | 0.20597 |  |  | Shoreline Wave | 2 | 27 | 0.037072 | 0.0087683 |  | Hot Dry Rocks | 2 | 10 | 0.91 | 0.079716 | 0.033597 | [8 empty] | 95 | 1870.5 | 0.26432 | 4.331 | 7.3254 | Wales |  |  |  | NI | 32 | 366.85 | 0.1102 | 0.35414 | 1.9898
[5 empty] | sources of at least 70% of annual electricity generation would be a combination of renewable and low |  | 4. Sub-national total final energy consumption 2019, published BEIS, 30 Sep 2021. | [14 empty] | NATIONAL + LOCAL | 45529 | 18030.8577 | 0.35381 | 55.8852 | 100 | Hot Dry Rocks | 1 | 3 | 0.91 | 0.023915 |  |  | Solar Photovoltaics | 245 | 4898.3886 | 0.1102 | 4.7287 |  | Shoreline Wave | 4 | 51 | 0.037072 | 0.016562 | 0.0069804 | [8 empty] | 205 | 1807.15 | 0.26432 | 4.185 | 7.0785 | Northern Ireland |  |  |  | UK | 1920 | 17954.741 | 0.1102 | 17.3326 | 97.3864
Dorset CPRE Charity Number 211974 |  |  |  | 6.4 Table 5 shows a minimal 0.1% increase to 54.2% in generation for installations of National | carbon (principally nuclear) energy installations of National Significance. |  | https://www.gov.uk/government/statistics/total-final-energy-consumption-at-regional-and-local-authority-level-2005-to-2019 | [20 empty] | Shoreline Wave | 2 | 24 | 0.037072 | 0.0077941 |  |  | Tidal | 1 | 100 | 0.037072 | 0.032475 |  | TOTAL | 871074 | 88701.0295 | 0.30536 | 237.2708 | 100 | [16 empty] | NATIONAL & LOCAL | England | 1650 | 16338.8853 | 0.1102 | 15.7728 | 88.6221
info@dorset-cpre.org.uk |  |  |  | Significance in 2021. Just one installation was commissioned during the year. This consisted of |  |  | 5. Modelling 2050: Electricity System Analysis, published by the BEIS Dynamic Dispatch Team, 4 Dec 2020. | [20 empty] | Tidal | 4 | 10.5 | 0.037072 | 0.0034099 |  |  | Waste Incineration | 10 | 205.75 | 0.3602 | 0.64921 | [14 empty] | NOTES FOR TABLES 12-15 | [9 empty] | Scotland | 79 | 508.2133 | 0.1102 | 0.4906 | 2.7565
www.dorset-cpre.org.uk Tel: 0333 577 0360 |  |  |  | twenty-one 145 m high onshore wind turbines with a total capacity of 75.5 MW located in the | 10. What remains is a decision to reintroduce the 2011 renewable energy policy stated in |  | https://www.gov.uk/government/publications/modelling-2050-electricity-system-analysis | [20 empty] | LOCAL SIGNFICANCE | 869454 | 25650.0661 | 0.23459 | 52.711 | 45.7777 |  | Wind Onshore | 91 | 1253.5503 | 0.26432 | 2.9025 |  | NOTE | [12 empty] | 1. Only installations with an installed capacity of 0.2 MW or above are included in this analysis. | [9 empty] | Wales | 162 | 1222.5924 | 0.1102 | 1.1802 | 6.6313
The Campaign to Protect Rural England exists to promote the beauty, tranquillity and |  |  |  | Scottish Borders. Similarly, only 201 installations of Local Significance were commissioned during | paragraph 1 so that it would be appropriate for a Local Authority to reduce its 2050 Target | [22 empty] | NATIONAL + LOCAL | 869545 | 43238.0661 | 0.304 | 115.1456 | 100 |  | LOCAL SIGNIFICANCE | 362 | 6547.3789 | 0.15087 | 8.6531 | 30.8857 | 1. Wind Offshore, Wind Onshore and Plant Biomass are responsible for 80.4% | [12 empty] | 2. For each technology, countries are listed in order of decreasing contribution of annual | [9 empty] | NI | 32 | 366.85 | 0.1102 | 0.35414 | 1.9898
diversity of rural England by encouraging the sustainable use of land and |  |  |  | the year. This pause in deployment can be attributed to the negative impacts of Covid-19. | for 100% of electricity consumption to be from local renewable sources by the percentage | [29 empty] | NATIONAL + LOCAL | 400 | 13680.9789 | 0.23377 | 28.0164 | 100 | of all renewable electricity generation. | [12 empty] | generation of renewable electricity. | [9 empty] | UK | 1923 | 18436.541 | 0.1102 | 17.7978 | 99.9997
other natural resources in town and country. |  |  |  |  | that the UK is generating from installations of National Significance. | [35 empty] | 2. Solar Photovoltaics's contribution is limited to 8.9%. | [12 empty] | 3. The major contributor for each technology is highlighted in yellow. England leads in all except
for Onshore Wind and Hydro (Scotland) and Tidal (Wales).
|  |  | 1 | 2 |  | 3 | 4 | [13 empty] | 5 | 6 | [11 empty] | 7 | 8 | [11 empty] | 9 | 10 | [12 empty] | 11 | 12 | [14 empty] | 13